## Sheet1
1 | Internal server error | ERROR | com.avamar.mc.gui.console.events.EventCodeInfo@4f830b
1225 | tlogscanpattern::tconditions::tconditions invalid condition=%s | WARNING | com.avamar.mc.gui.console.events.EventCodeInfo@64244755
4004 | failed hfscheck maintenance | ERROR | com.avamar.mc.gui.console.events.EventCodeInfo@9c750d0
4202 | failed garbage collection | ERROR | com.avamar.mc.gui.console.events.EventCodeInfo@7c8a8cb3
4302 | failed checkpoint maintenance | ERROR | com.avamar.mc.gui.console.events.EventCodeInfo@6c1b7ba5
21007 | Internal Administrator Client error. | ERROR | com.avamar.mc.gui.console.events.EventCodeInfo@52c516
22208 | Group modified | AUDIT | com.avamar.mc.gui.console.events.EventCodeInfo@3a092784
22213 | Schedule created | AUDIT | com.avamar.mc.gui.console.events.EventCodeInfo@2f0168e0
22215 | Schedule deleted | AUDIT | com.avamar.mc.gui.console.events.EventCodeInfo@58c623c
22226 | Group Disabled. | WARNING | com.avamar.mc.gui.console.events.EventCodeInfo@438553fc
22406 | MCS Stopped. | AUDIT | com.avamar.mc.gui.console.events.EventCodeInfo@664ce805
22408 | A checkpoint of server data is overdue. | ERROR | com.avamar.mc.gui.console.events.EventCodeInfo@4314d4bb
22409 | A checkpoint validation (hfscheck) of server checkpoint data is overdue. | ERROR | com.avamar.mc.gui.console.events.EventCodeInfo@c9a6365
22426 | A data integrity issue has been detected. | ERROR | com.avamar.mc.gui.console.events.EventCodeInfo@6bf38259
22605 | A server node has gone offline. | ERROR | com.avamar.mc.gui.console.events.EventCodeInfo@3ff2d86d
22609 | A error occurred creating a server checkpoint. | ERROR | com.avamar.mc.gui.console.events.EventCodeInfo@605efce7
22614 | Errors were found validating a server checkpoint. | ERROR | com.avamar.mc.gui.console.events.EventCodeInfo@7c2dd31e
22630 | Server has reached capacity. | WARNING | com.avamar.mc.gui.console.events.EventCodeInfo@247f9643
22632 | A server disk has become suspended. | ERROR | com.avamar.mc.gui.console.events.EventCodeInfo@34621b6d
22635 | Failed to start garbage collection | ERROR | com.avamar.mc.gui.console.events.EventCodeInfo@14f6abf9
22644 | A error occurred starting a checkpoint validation. | ERROR | com.avamar.mc.gui.console.events.EventCodeInfo@4e94732f
30005 | Activity completed with exceptions. | INFORMATION | com.avamar.mc.gui.console.events.EventCodeInfo@74163af6
30900 | Activity failed - timed out before completion. | WARNING | com.avamar.mc.gui.console.events.EventCodeInfo@5f792804
30901 | Activity failed - timed out before starting. | WARNING | com.avamar.mc.gui.console.events.EventCodeInfo@b324f94
30910 | Dropped Session - No progress reported. | WARNING | com.avamar.mc.gui.console.events.EventCodeInfo@1406834a
30914 | Activity Failed - Client Not Registered. | WARNING | com.avamar.mc.gui.console.events.EventCodeInfo@3795798b
30998 | Activity status unknown. | ERROR | com.avamar.mc.gui.console.events.EventCodeInfo@365eb12f
30999 | Activity failed - client error(s). | ERROR | com.avamar.mc.gui.console.events.EventCodeInfo@2c2a08c
50181 | Space Over 90 Percent. | WARNING | com.avamar.mc.gui.console.events.EventCodeInfo@37ba48be
50183 | Disk Failure. | ERROR | com.avamar.mc.gui.console.events.EventCodeInfo@26fdce87
52531 | The internal SSD drive failed. | ERROR | com.avamar.mc.gui.console.events.EventCodeInfo@61021510
52532 | A physical disk failed. | ERROR | com.avamar.mc.gui.console.events.EventCodeInfo@4fb4ff31
53001 | Power Supply failed Alarm. | ERROR | com.avamar.mc.gui.console.events.EventCodeInfo@73de12d8