SNMP Connector Policy Examples

Table of Contents

1	Getting Started	2

2	Generating Test Traps	4

3	SiteScope	5

4	Solarwinds	6

# Getting Started

Refer to the SNMP Connector Guide for detailed information.

Policy File:

D:\apps\CA\Catalyst\CatalystConnector\registry\topology\physical\TESTCACONNECT01_CatalystConnector\modules\policy\snmp_policy.xml

Catalog Tags

There can be only on set of “catalog” tags to start and end the policy with as many policies as you need in between.

<Catalog version='1.0' globalextends='GLOBAL!' >

</Catalog>

# SiteScope

NOTE: “normal or up” traps do not contain information that can be parsed to close the alert in SOI.

Therefore, only down or fail conditions will be included in the policy. Sitescope alerts will need to be closed manually.

Sample XML policy for Sitescope can be found in the Untested area on this community site.

# Solarwinds

Policy was configured to support “down” and “up” traps for devices.

Sample XML policy for Solarwinds can be found on this community site, under Untested folder.